This page was exported from All The Latest MCTS Exam Questions And Answers For Free Share [    https://www.mctsdump.com    ]

Export date: Thu Apr 18 7:59:00 2024 / +0000 GMT

## [Sep-2017 Dumps] PassLeader Premium 200-601 Exam Questions For Free Reading

New Updated 200-601 Exam Questions from PassLeader 200-601 PDF dumps! Welcome to download the newest PassLeader 200-601 VCE dumps: https://www.passleader.com/200-601.html (88 Q&As)

Keywords: 200-601 exam dumps, 200-601 exam questions, 200-601 VCE dumps, 200-601 PDF dumps, 200-601 practice tests, 200-601 study guide, 200-601 braindumps, Managing Industrial Networking for Manufacturing with Cisco Technologies (IMINS2) Exam

P.S. New 200-601 dumps PDF: https://drive.google.com/open?id=0B-ob6L_QjGLpekY2NnBTTzFpejQ

New 200-401 dumps PDF: https://drive.google.com/open?id=0B-ob6L_QjGLpbzVsUGlPZ2hheDQ

NEW QUESTION 71

Refer to the exhibit. CCNA.com has the industrial network shown in the exhibit. All switches are configured as layer 2 switches and are using VLAN 1 as their management VLAN. Each VLAN 1 interface has been assigned the correct IP address. What is the purpose of assigning a default gateway to SW-C switch?

A.    allows connectivity between the VLAN 1 interface on SW-C and other devices in the network.

B.    allows connectivity between Host A and other devices in the network.

C.    allows connectivity between Host B and other devices in the network.

D.    allows the switch to pass traffic between Host A and Host B.

Answer: A

NEW QUESTION 72

Refer to the exhibit. Host 3 on Network A is sending data to Host 8 on Network B. Which address is the default gateway of Host 3?

A.    the address of the switch interface that is connected to router interface Fa0/0

B.    the address of the switch interface that is connected to router interface Fa0/1

C.    the address of the host that is connected to Network A

D.    the address of the host that is connected to Network B

E.    the address of the router interface Fa0/0

F.    the address of the router interface Fa0/1

Answer: E

NEW QUESTION 73

What are the two most relevant factors in determining the class of administration that is required to maintain the telecommunications infrastructure? (Choose two.)

A.    the size of the infrastructure

B.    the complexity of the infrastructure

C.    the age of the infrastructure

D.    the industry that the infrastructure supports

E.    the physical environment of the infrastructure

Answer: AB

NEW QUESTION 74

Which two ports does EtherNet/IP use to communicate? (Choose two.)

A.    TCP 44818

B.    UDP 44818

C.    TCP 502

D.    UDP 502

E.    TCP 2222

F.    UDP 2222

Answer: AF

NEW QUESTION 75

Which of the following correctly pairs the dotted decimal subnet mask with the correct number of binary bits that represent the subnet mask?

A.    255.255.255.192 and /25

B.    255.255.255.248 and /28

C.    255.255.255.224 and /26

D.    255.255.255.248 and /27

E.    255.255.255.240 and /28

F.    255.255.255.240 and /16

Answer: E

NEW QUESTION 76

Refer to the exhibit. What are three traffic and interconnection requirements for the devices in the exhibit? (Choose three.)

A.    The EtherNet/IP drive connections are in a high-voltage area and need protection from electromagnetic noise, so shielded cable that is rated for 600 V is advised.

B.    EtherNet/IP devices such as the controller, drive, VoIP phone, and IP camera should be in the same VLAN.

C.    CIP traffic has the highest bandwidth requirement so it needs the highest QoS setting.

D.    EtherNet/IP drive traffic has high sensitivity to random drops, latency, and jitter.

E.    Real-time motion control and VoIP traffic can share the same VLAN with the proper QoS setting.

F.    IEEE1588 and PTP are important for ensuring real-time synchronization.

Answer: ADF

NEW QUESTION 77

You are a called upon to troubleshoot connectivity problems to a network device on a production floor. You have used ping and traceroute to verify that you cannot connect to the device from the management network. The network is 209.165.202.128/27 and the device has been given the IP address 209.165.202.158 and mask 255.255.255.224. You have verified that you can reach the device with your computer connected to the same switch as the device. What could be the cause of this problem?

A.    The device is set to the wrong subnet mask.

B.    The device is set to the wrong IP address.

C.    The device has no IP default gateway.

D.    The device is connected to a switchport in the wrong VLAN.

Answer: C

NEW QUESTION 78

Which prompt is used to configure parameters for the Ethernet ports of an industrial switch?

A.    Switch(config-if)#

B.    Switch(config-if-ind)#

C.    Switch(config-line)#

D.    Switch(config-ind)#

E.    Switch(config-vlan)#

Answer: A

NEW QUESTION 79

What are two benefits of a star network topology? (Choose two.)

A.    Disruption of the entire network is not required when adding new machines.

B.    Any problem which leaves the network inoperable can be traced to the central hub.

C.    This network type requires less cable as compared to linear bus topology.

D.    The performance of one of the numerous nodes cannot reflect on the performance of other nodes.

E.    The performance of the entire network is directly dependent on the performance of the hub.

Answer: AB

NEW QUESTION 80

What is the purpose of Spanning Tree Protocol?

A.    to prevent routing loops

B.    to create a default route

C.    to provide multiple gateways for hosts

D.    to maintain a loop-free Layer 2 network topology

E.    to enhance the functions of SNMP

Answer: D

NEW QUESTION 81

A small manufacturing company has a Class C network address on the plant floor and needs to create five subnets, each accommodating 25 endpoints. Which subnet mask needs to be configured?

A.    255.255.240.0

B.    255.255.255.128

C.    255.255.255.192

D.    255.255.255.224

E.    255.255.255.240

F.    255.255.255.248

Answer: D

NEW QUESTION 82

……

Download the newest PassLeader 200-601 dumps from passleader.com now! 100% Pass Guarantee!

200-601 PDF dumps & 200-601 VCE dumps: https://www.passleader.com/200-601.html (88 Q&As) (New Questions Are 100% Available and Wrong Answers Have Been Corrected! Free VCE simulator!)

P.S. New 200-601 dumps PDF: https://drive.google.com/open?id=0B-ob6L_QjGLpekY2NnBTTzFpejQ

New 200-401 dumps PDF: https://drive.google.com/open?id=0B-ob6L_QjGLpbzVsUGlPZ2hheDQ

Post date: 2017-09-25 09:52:51

Post date GMT: 2017-09-25 09:52:51

Post modified date: 2017-09-25 09:52:51

Post modified date GMT: 2017-09-25 09:52:51

Powered by [ Universal Post Manager ] plugin. MS Word saving format developed by gVectors Team    www.gVectors.com